[image: image1.wmf] COES-CENACE-CND

 REP-TRE-ISA

 PowerFactory 13.0.225 

 INTERCONEXIÓN COLOMBIA-ECUADOR-PERÚ

 Demanda Media Avenida Perú

 Perú exporta 115 MW

 Colombia exporta 220 MW

 Project: CO-EC-PE  

 Graphic: Ec-Pe

 Date:   28-Oct-2003 

 Annex: 05.D1.1.01 

Load Flow Balanced

Nodes

Line-Line Voltage, Magnitude [kV]

Voltage, Magnitude [p.u.]

Voltage, Angle [deg]

Branches

Active Power [MW]

Reactive Power [Mvar]

Maximum Loading [%]

40.45

-5.43

24.50

-40.45

6.18

24.50

-115.43

47.05

53.50

116.65

-48.29

53.50

-47.02

2.80

11.92

47.02

-2.42

11.92

G

~

160.00

11.85

71.62

PauteAB-1-5

G

~

200.00

9.69

78.40

G

~

110.00

5.62

86.25

PauteC-G6-9

PauteC-G10

G

~

75.00

15.00

78.93

G

~

79.80

-0.45

69.39

-121.78

45.58

58.51

124.90

-44.40

58.51

-58.29

12.17

42.64

58.88

-24.31

42.64

-103.70

-11.35

69.84

107.46

0.67

69.84

74.06

9.77

64.53

-73.25

-20.17

64.53

-74.82

39.18

24.99

74.99

-41.62

24.99

60.47

-2.05

18.93

-59.73

-28.01

18.93

60.47

-2.05

18.93

-59.73

-28.01

18.93

-76.03

-8.64

21.28

76.36

0.99

21.28

54.22

5.37

17.27

-53.77

-27.90

17.27

-105.47

24.24

31.51

106.95

-34.18

31.51

129.52

-11.69

96.26

-128.47

15.89

96.26

EDC_138

140.18

1.02

24.13

PAUTE_230

242.32

1.10

18.34

PASCUA_230

234.33

1.07

12.99

MILAGRO_230

235.86

1.07

14.94

CARHUAQ2

231.69

1.05

55.88

S.IDELF_138

139.63

1.01

21.88

MACHALA_69

69.42

1.01

20.92

CHICLAY2

226.60

1.03

52.74

MACHALA_230

230.80

1.05

21.96

PAUTE_138

145.33

1.05

18.81

PIURAO_2

215.61

0.98

39.85

CARHUAQU

10.50

1.05

59.57

TALARAG1

13.07

0.99

40.30

TALARA_2

218.01

0.99

35.98

ZORRITO2

227.07

1.03

25.68

S.IDELF_230

232.19

1.06

21.08

227.07

25.68

230.80

21.96

69.42

20.92

DIgSILENT


[image: image2.wmf] COES-CENACE-CND

 REP-TRE-ISA

 PowerFactory 13.0.225 

 INTERCONEXIÓN COLOMBIA-ECUADOR-PERÚ

 Demanda Media Avenida Perú

 Perú exporta 115 MW

 Colombia exporta 220 MW

 Project: CO-EC-PE  

 Graphic: IntCol-Ecu

 Date:   28-Oct-2003 

 Annex: 05.D1.1.01 

Load Flow Balanced

Nodes

Line-Line Voltage, Magnitude [kV]

Voltage, Magnitude [p.u.]

Voltage, Angle [deg]

Branches

Active Power [MW]

Reactive Power [Mvar]

Loading [%]

0.00

-64.97

 

0.00

-64.97

 

-0.00

-78.47

 

Ipi_E11

-0.00

1.12

2.74

0.00

-1.11

2.74

-54.28

-21.12

16.91

54.66

3.70

16.91

-54.28

-21.12

16.91

54.66

3.70

16.91

20.14

2.33

7.54

-20.10

-16.43

7.54

20.14

2.33

7.54

-20.10

-16.43

7.54

37.26

3.48

9.71

-37.20

-11.54

9.71

37.26

3.48

9.71

-37.20

-11.54

9.71

-186.99

72.42

50.06

191.19

-53.15

50.06

113.06

-55.14

31.45

-111.24

48.07

31.45

-142.48

17.96

38.06

146.68

-21.92

38.06

-142.48

17.96

38.06

146.68

-21.92

38.06

12.36

-33.34

6.55

-12.31

4.78

6.55

12.36

-33.34

6.55

-12.31

4.78

6.55

111.36

-7.07

24.37

-108.48

-11.11

24.37

111.36

-7.07

24.37

-108.48

-11.11

24.37

IPI_TUL_11

0.00

-1.12

0.68

IPIALES1

117.11

1.02

15.09

YUMBO__2

228.19

1.04

48.01

BETANIA2

234.06

1.06

36.95

TULCAN_138

136.95

0.99

5.40

TOTORA_230

236.08

1.07

12.54

S.ROSA_230

231.64

1.05

9.54

S.DOMI_230

233.61

1.06

10.31

POMASQ_230

232.75

1.06

10.43

PAEZ___2

230.22

1.05

42.82

IPIALESE

140.72

1.02

15.09

SANBERN2

239.34

1.09

36.01

JAMONDI2

240.11

1.09

22.69

DIgSILENT


[image: image3.wmf]30.00

23.98

17.96

11.94

5.920

-0.100

[s]

1.085

1.063

1.042

1.020

1.00

0.98

MACHALA_138: Voltage, Magnitude in p.u.

MACHALA_69: Voltage, Magnitude in p.u.

MILAGRO_230: Voltage, Magnitude in p.u.

30.00

23.98

17.96

11.94

5.920

-0.100

[s]

1.077

1.045

1.013

0.98

0.95

0.92

CHICLAY2: Voltage, Magnitude in p.u.

PIURAO_2: Voltage, Magnitude in p.u.

TALARA_2: Voltage, Magnitude in p.u.

Co-Ec-Pe 

INTERCONEXION COLOMBIA - PERU - ECUADOR 

VOLTAJES

Demanda Media Avenida - Perú exporta 115 MW 

Salida de una unidad de Paute 

  Date:  28-Oct-2003 

  Annex: 05.D1.1.01 /2

DIgSILENT


[image: image4.wmf]30.00

23.98

17.96

11.94

5.920

-0.100

[s]

173.5

108.4

43.28

-21.86

-86.99

-152.1

lne PIU_CHI_21: Active Power/Terminal i in MW

lne TAL_PIU_21: Active Power/Terminal i in MW

lne TAL_ZOR_21: Active Power/Terminal i in MW

30.00

23.98

17.96

11.94

5.920

-0.100

[s]

-49.37

-69.77

-90.17

-110.6

-131.0

-151.4

lne MCH_ZOR_21: Active Power/Terminal i in MW

Co-Ec-Pe 

INTERCONEXION COLOMBIA - PERU - ECUADOR 

MW_LINEAS

Demanda Media Avenida - Perú exporta 115 MW 

Salida de una unidad de Paute 

  Date:  28-Oct-2003 

  Annex: 05.D1.1.01 /3

DIgSILENT


[image: image5.wmf]30.00

23.98

17.96

11.94

5.920

-0.100

[s]

164.7

145.5

126.4

107.2

88.07

68.92

sym aguaytia: Active Power in MW

sym machupic: Active Power in MW

sym sangaban: Active Power in MW

sym talarag1: Active Power in MW

sym carhuaqu: Active Power in MW

30.00

23.98

17.96

11.94

5.920

-0.100

[s]

185.5

178.4

171.2

164.1

157.0

149.9

PauteB_1_5: Active Power in MW

Co-Ec-Pe 

INTERCONEXION COLOMBIA - PERU - ECUADOR 

Gen_P

Demanda Media Avenida - Perú exporta 115 MW 

Salida de una unidad de Paute 

  Date:  28-Oct-2003 

  Annex: 05.D1.1.01 /4

DIgSILENT


[image: image6.wmf]30.00

23.98

17.96

11.94

5.920

-0.100

[s]

-12.09

-28.62

-45.15

-61.68

-78.21

-94.74

Edc_G1: Rotor angle with reference to reference machine angle in deg

Esmeraldas_G1: Rotor angle with reference to reference machine angle in deg

PauteB_1_5: Rotor angle with reference to reference machine angle in deg

Trinitaria_G1: Rotor angle with reference to reference machine angle in deg

30.00

23.98

17.96

11.94

5.920

-0.100

[s]

93.41

59.14

24.88

-9.383

-43.65

-77.91

sym aguaytia: Rotor angle with reference to reference machine angle in deg

sym carhuaqu: Rotor angle with reference to reference machine angle in deg

sym cañdpato: Rotor angle with reference to reference machine angle in deg

sym machupic: Rotor angle with reference to reference machine angle in deg

sym sangaban: Rotor angle with reference to reference machine angle in deg

sym talarag1: Rotor angle with reference to reference machine angle in deg

Co-Ec-Pe 

INTERCONEXION COLOMBIA - PERU - ECUADOR 

Gen_Firel

Demanda Media Avenida - Perú exporta 115 MW 

Salida de una unidad de Paute 

  Date:  28-Oct-2003 

  Annex: 05.D1.1.01 /5

DIgSILENT


[image: image7.wmf]29.999

23.979

17.960

11.940

5.9199

-0.1000

[s]

181.10

166.49

151.87

137.26

122.65

108.04

JAM_POM_22: Active Power/Terminal i in MW

Co-Ec-Pe 

INTERCONEXION COLOMBIA - PERU - ECUADOR 

Simul3

Demanda Media Avenida - Perú exporta 115 MW 

Salida de una unidad de Paute 

  Date:  28-Oct-2003 

  Annex: 05.D1.1.01 /1

DIgSILENT


[image: image8.wmf]22.53

18.01

13.48

8.953

4.426

-0.100

[s]

-12.63

-25.79

-38.95

-52.11

-65.27

-78.43

Edc_G1: Rotor angle with reference to reference machine angle in deg

Esmeraldas_G1: Rotor angle with reference to reference machine angle in deg

PauteB_1_5: Rotor angle with reference to reference machine angle in deg

Trinitaria_G1: Rotor angle with reference to reference machine angle in deg

22.53

18.01

13.48

8.953

4.426

-0.100

[s]

82.61

49.07

15.54

-17.99

-51.52

-85.05

sym aguaytia: Rotor angle with reference to reference machine angle in deg

sym carhuaqu: Rotor angle with reference to reference machine angle in deg

sym cañdpato: Rotor angle with reference to reference machine angle in deg

sym machupic: Rotor angle with reference to reference machine angle in deg

sym sangaban: Rotor angle with reference to reference machine angle in deg

sym huincog1: Rotor angle with reference to reference machine angle in deg

Co-Ec-Pe 

INTERCONEXION COLOMBIA - PERU - ECUADOR 

Gen_Firel

Demanda Media Avenida - Perú exporta 115 MW 

Salida de una unidad de Carhuaquero 

  Date:  29-Oct-2003 

  Annex: 05.D1.1.02 /5

DIgSILENT


[image: image9.wmf]22.532

18.005

13.479

8.9527

4.4263

-0.1000

[s]

165.54

154.16

142.78

131.40

120.03

108.65

JAM_POM_22: Active Power/Terminal i in MW

Co-Ec-Pe 

INTERCONEXION COLOMBIA - PERU - ECUADOR 

Simul3

Demanda Media Avenida - Perú exporta 115 MW 

Salida de una unidad de Carhuaquero 

  Date:  29-Oct-2003 

  Annex: 05.D1.1.02 /1

DIgSILENT


[image: image10.wmf]22.53

18.01

13.48

8.953

4.426

-0.100

[s]

1.087

1.070

1.053

1.036

1.019

1.002

MACHALA_138: Voltage, Magnitude in p.u.

MACHALA_69: Voltage, Magnitude in p.u.

MILAGRO_230: Voltage, Magnitude in p.u.

22.53

18.01

13.48

8.953

4.426

-0.100

[s]

1.083

1.054

1.026

1.00

0.97

0.94

CHICLAY2: Voltage, Magnitude in p.u.

PIURAO_2: Voltage, Magnitude in p.u.

TALARA_2: Voltage, Magnitude in p.u.

Co-Ec-Pe 

INTERCONEXION COLOMBIA - PERU - ECUADOR 

VOLTAJES

Demanda Media Avenida - Perú exporta 115 MW 

Salida de una unidad de Carhuaquero 

  Date:  29-Oct-2003 

  Annex: 05.D1.1.02 /2

DIgSILENT


[image: image11.wmf]22.53

18.01

13.48

8.953

4.426

-0.100

[s]

136.5

86.16

35.83

-14.50

-64.83

-115.2

lne PIU_CHI_21: Active Power/Terminal i in MW

lne TAL_PIU_21: Active Power/Terminal i in MW

lne TAL_ZOR_21: Active Power/Terminal i in MW

22.53

18.01

13.48

8.953

4.426

-0.100

[s]

11.17

-15.41

-41.98

-68.55

-95.12

-121.7

lne MCH_ZOR_21: Active Power/Terminal i in MW

Co-Ec-Pe 

INTERCONEXION COLOMBIA - PERU - ECUADOR 

MW_LINEAS

Demanda Media Avenida - Perú exporta 115 MW 

Salida de una unidad de Carhuaquero 

  Date:  29-Oct-2003 

  Annex: 05.D1.1.02 /3

DIgSILENT


[image: image12.wmf]22.53

18.01

13.48

8.953

4.426

-0.100

[s]

164.5

147.3

130.1

112.9

95.71

78.50

sym aguaytia: Active Power in MW

sym machupic: Active Power in MW

sym sangaban: Active Power in MW

22.53

18.01

13.48

8.953

4.426

-0.100

[s]

164.2

162.6

161.0

159.4

157.9

156.3

PauteB_1_5: Active Power in MW

Co-Ec-Pe 

INTERCONEXION COLOMBIA - PERU - ECUADOR 

Gen_P

Demanda Media Avenida - Perú exporta 115 MW 

Salida de una unidad de Carhuaquero 

  Date:  29-Oct-2003 

  Annex: 05.D1.1.02 /4

DIgSILENT


