[image: image1.wmf]G

~

79.80

5.41

67.10

MALACAG4

14.21

1.03

72.19

 COES-CENACE-CND

 REP-TRE-ISA

 PowerFactory 13.0.225 

 INTERCONEXIÓN COLOMBIA-ECUADOR-PERÚ

 Demanda Mínima Avenida Perú

 Perú exporta 110 MW

 Colombia exporta 180 MW

 Project: CO-EC-PE  

 Graphic: Ec-Pe

 Date:   28-Oct-2003 

 Annex: 05.N1.1.01 

Load Flow Balanced

Nodes

Line-Line Voltage, Magnitude [kV]

Voltage, Magnitude [p.u.]

Voltage, Angle [deg]

Branches

Active Power [MW]

Reactive Power [Mvar]

Maximum Loading [%]

30.31

9.79

19.43

-30.31

-9.32

19.43

-110.86

16.58

48.11

111.86

-19.15

48.11

-63.04

25.18

17.82

63.04

-24.32

17.82

G

~

180.00

-28.89

81.39

PauteAB-1-5

G

~

 

 

 

G

~

110.00

-7.18

86.32

PauteC-G6-9

PauteC-G10

G

~

60.00

5.97

62.23

-115.61

17.19

51.22

118.06

-21.96

51.22

-48.60

16.93

37.86

49.04

-31.20

37.86

-90.74

1.70

61.61

93.58

-18.74

61.61

59.35

2.48

52.03

-58.82

-13.91

52.03

-80.38

24.08

25.09

80.55

-26.36

25.09

39.54

-12.21

12.77

-39.21

-19.36

12.77

39.54

-12.21

12.77

-39.21

-19.36

12.77

-69.86

3.28

20.07

70.15

-10.82

20.07

27.69

-4.02

9.88

-27.56

-19.64

9.88

-114.30

21.88

34.19

116.07

-28.60

34.19

129.48

-21.96

99.79

-128.36

26.58

99.79

EDC_138

136.57

0.99

57.87

PAUTE_230

233.61

1.06

49.50

PASCUA_230

230.22

1.05

45.73

MILAGRO_230

230.41

1.05

47.64

CARHUAQ2

227.05

1.03

85.31

S.IDELF_138

136.45

0.99

55.47

MACHALA_69

67.85

0.98

54.69

CHICLAY2

223.59

1.02

82.67

MACHALA_230

227.16

1.03

55.50

PAUTE_138

139.52

1.01

50.18

PIURAO_2

221.59

1.01

71.30

CARHUAQU

10.20

1.02

88.46

TALARA_2

225.60

1.03

68.19

ZORRITO2

226.96

1.03

59.00

S.IDELF_230

227.86

1.04

54.54

226.96

59.00

227.16

55.50

67.85

54.69

DIgSILENT


[image: image2.wmf] COES-CENACE-CND

 REP-TRE-ISA

 PowerFactory 13.0.225 

 INTERCONEXIÓN COLOMBIA-ECUADOR-PERÚ

 Demanda Mínima Avenida Perú

 Perú exporta 110 MW

 Colombia exporta 180 MW

 Project: CO-EC-PE  

 Graphic: IntCol-Ecu

 Date:   28-Oct-2003 

 Annex: 05.N1.1.01 

Load Flow Balanced

Nodes

Line-Line Voltage, Magnitude [kV]

Voltage, Magnitude [p.u.]

Voltage, Angle [deg]

Branches

Active Power [MW]

Reactive Power [Mvar]

Loading [%]

Ipi_E11

-0.00

1.18

2.81

0.00

-1.18

2.81

-33.92

-15.57

10.90

34.07

-3.35

10.90

-33.92

-15.57

10.90

34.07

-3.35

10.90

13.03

-7.42

4.37

-13.02

-6.63

4.37

13.03

-7.42

4.37

-13.02

-6.63

4.37

22.54

16.00

8.29

-22.50

-24.23

8.29

22.54

16.00

8.29

-22.50

-24.23

8.29

-45.56

38.06

18.55

46.03

-56.29

18.55

25.24

-48.84

13.89

-24.97

29.14

13.89

-75.75

4.47

21.64

76.97

-31.96

21.64

-75.75

4.47

21.64

76.97

-31.96

21.64

54.40

-19.59

10.57

-54.15

-5.82

10.57

54.40

-19.59

10.57

-54.15

-5.82

10.57

71.34

-9.31

16.48

-70.14

-22.65

16.48

71.34

-9.31

16.48

-70.14

-22.65

16.48

IPI_TUL_11

0.00

-1.18

0.70

IPIALES1

120.42

1.05

50.84

YUMBO__2

225.64

1.03

62.97

BETANIA2

235.63

1.07

63.62

TULCAN_138

138.07

1.00

41.50

TOTORA_230

232.81

1.06

46.28

S.ROSA_230

230.40

1.05

44.36

S.DOMI_230

230.60

1.05

44.90

POMASQ_230

232.62

1.06

44.87

PAEZ___2

227.86

1.04

61.57

IPIALESE

144.70

1.05

50.84

SANBERN2

236.52

1.08

59.82

JAMONDI2

239.93

1.09

52.65

DIgSILENT


[image: image3.wmf]24.18

19.32

14.47

9.611

4.756

-0.100

[s]

54.63

25.22

-4.202

-33.62

-63.04

-92.46

Edc_G1: Rotor angle with reference to reference machine angle in deg

Esmeraldas_G1: Rotor angle with reference to reference machine angle in deg

PauteB_1_5: Rotor angle with reference to reference machine angle in deg

Trinitaria_G1: Rotor angle with reference to reference machine angle in deg

24.18

19.32

14.47

9.611

4.756

-0.100

[s]

198.0

118.8

39.59

-39.60

-118.8

-198.0

sym aguaytia: c:firel

sym carhuaqu: Rotor angle with reference to reference machine angle in deg

sym cañdpato: Rotor angle with reference to reference machine angle in deg

sym machupic: Rotor angle with reference to reference machine angle in deg

sym sangaban: Rotor angle with reference to reference machine angle in deg

sym huincog1: Rotor angle with reference to reference machine angle in deg

Co-Ec-Pe 

INTERCONEXION COLOMBIA - PERU - ECUADOR 

Gen_Firel

Demanda Mínima Avenida - Perú exporta 110 MW 

Salida de una unidad de Paute 

  Date:  29-Oct-2003 

  Annex: 05.N1.1.01 /5

DIgSILENT


[image: image4.wmf]24.18

19.32

14.47

9.611

4.756

-0.100

[s]

93.97

88.33

82.69

77.06

71.42

65.78

sym aguaytia: m:P:bus1

sym machupic: Active Power in MW

sym sangaban: Active Power in MW

24.18

19.32

14.47

9.611

4.756

-0.100

[s]

245.7

217.9

190.2

162.5

134.7

107.0

PauteB_1_5: Active Power in MW

Co-Ec-Pe 

INTERCONEXION COLOMBIA - PERU - ECUADOR 

Gen_P

Demanda Mínima Avenida - Perú exporta 110 MW 

Salida de una unidad de Paute 

  Date:  29-Oct-2003 

  Annex: 05.N1.1.01 /4

DIgSILENT


[image: image5.wmf]24.18

19.32

14.47

9.611

4.756

-0.100

[s]

262.9

165.1

67.25

-30.58

-128.4

-226.2

lne PIU_CHI_21: Active Power/Terminal i in MW

lne TAL_PIU_21: Active Power/Terminal i in MW

lne TAL_ZOR_21: Active Power/Terminal i in MW

24.18

19.32

14.47

9.611

4.756

-0.100

[s]

253.6

154.5

55.34

-43.81

-143.0

-242.1

lne MCH_ZOR_21: Active Power/Terminal i in MW

Co-Ec-Pe 

INTERCONEXION COLOMBIA - PERU - ECUADOR 

MW_LINEAS

Demanda Mínima Avenida - Perú exporta 110 MW 

Salida de una unidad de Paute 

  Date:  29-Oct-2003 

  Annex: 05.N1.1.01 /3

DIgSILENT


[image: image6.wmf]24.18

19.32

14.47

9.611

4.756

-0.100

[s]

1.115

1.014

0.91

0.81

0.71

0.61

MACHALA_138: Voltage, Magnitude in p.u.

MACHALA_69: Voltage, Magnitude in p.u.

MILAGRO_230: Voltage, Magnitude in p.u.

24.18

19.32

14.47

9.611

4.756

-0.100

[s]

1.230

1.002

0.77

0.55

0.32

0.09

CHICLAY2: Voltage, Magnitude in p.u.

PIURAO_2: Voltage, Magnitude in p.u.

TALARA_2: Voltage, Magnitude in p.u.

Co-Ec-Pe 

INTERCONEXION COLOMBIA - PERU - ECUADOR 

VOLTAJES

Demanda Mínima Avenida - Perú exporta 110 MW 

Salida de una unidad de Paute 

  Date:  29-Oct-2003 

  Annex: 05.N1.1.01 /2

DIgSILENT

[image: image7.wmf]24.179

19.323

14.467

9.6114

4.7557

-0.1000

[s]

210.18

176.57

142.96

109.35

75.737

42.125

JAM_POM_22: Active Power/Terminal i in MW

Co-Ec-Pe 

INTERCONEXION COLOMBIA - PERU - ECUADOR 

Simul3

Demanda Mínima Avenida - Perú exporta 110 MW 

Salida de una unidad de Paute 

  Date:  29-Oct-2003 

  Annex: 05.N1.1.01 /1

DIgSILENT


[image: image8.wmf]28.56

22.83

17.09

11.36

5.631

-0.100

[s]

68.97

38.51

8.059

-22.40

-52.85

-83.30

Edc_G1: Rotor angle with reference to reference machine angle in deg

Esmeraldas_G1: Rotor angle with reference to reference machine angle in deg

PauteB_1_5: Rotor angle with reference to reference machine angle in deg

Trinitaria_G1: Rotor angle with reference to reference machine angle in deg

28.56

22.83

17.09

11.36

5.631

-0.100

[s]

198.0

118.8

39.59

-39.60

-118.8

-198.0

sym aguaytia: c:firel

sym carhuaqu: Rotor angle with reference to reference machine angle in deg

sym cañdpato: Rotor angle with reference to reference machine angle in deg

sym machupic: Rotor angle with reference to reference machine angle in deg

sym sangaban: Rotor angle with reference to reference machine angle in deg

sym huincog1: Rotor angle with reference to reference machine angle in deg

Co-Ec-Pe 

INTERCONEXION COLOMBIA - PERU - ECUADOR 

Gen_Firel

Demanda Mínima Avenida - Perú exporta 110 MW 

Salida de una unidad de Carhuaquero 

  Date:  29-Oct-2003 

  Annex: 05.N1.1.02 /5

DIgSILENT

[image: image9.wmf]28.56

22.83

17.09

11.36

5.631

-0.100

[s]

93.01

87.95

82.89

77.83

72.77

67.71

sym aguaytia: m:P:bus1

sym machupic: Active Power in MW

sym sangaban: Active Power in MW

28.56

22.83

17.09

11.36

5.631

-0.100

[s]

230.7

210.4

190.2

169.9

149.7

129.5

PauteB_1_5: Active Power in MW

Co-Ec-Pe 

INTERCONEXION COLOMBIA - PERU - ECUADOR 

Gen_P

Demanda Mínima Avenida - Perú exporta 110 MW 

Salida de una unidad de Carhuaquero 

  Date:  29-Oct-2003 

  Annex: 05.N1.1.02 /4

DIgSILENT

[image: image10.wmf]28.56

22.83

17.09

11.36

5.631

-0.100

[s]

186.0

120.7

55.37

-9.937

-75.24

-140.5

lne PIU_CHI_21: Active Power/Terminal i in MW

lne TAL_PIU_21: Active Power/Terminal i in MW

lne TAL_ZOR_21: Active Power/Terminal i in MW

28.56

22.83

17.09

11.36

5.631

-0.100

[s]

146.9

88.74

30.55

-27.63

-85.81

-144.0

lne MCH_ZOR_21: Active Power/Terminal i in MW

Co-Ec-Pe 

INTERCONEXION COLOMBIA - PERU - ECUADOR 

MW_LINEAS

Demanda Mínima Avenida - Perú exporta 110 MW 

Salida de una unidad de Carhuaquero 

  Date:  29-Oct-2003 

  Annex: 05.N1.1.02 /3

DIgSILENT

[image: image11.wmf]28.56

22.83

17.09

11.36

5.631

-0.100

[s]

1.109

1.053

1.00

0.94

0.88

0.83

MACHALA_138: Voltage, Magnitude in p.u.

MACHALA_69: Voltage, Magnitude in p.u.

MILAGRO_230: Voltage, Magnitude in p.u.

28.56

22.83

17.09

11.36

5.631

-0.100

[s]

1.229

0.98

0.72

0.47

0.22

-0.032

CHICLAY2: Voltage, Magnitude in p.u.

PIURAO_2: Voltage, Magnitude in p.u.

TALARA_2: Voltage, Magnitude in p.u.

Co-Ec-Pe 

INTERCONEXION COLOMBIA - PERU - ECUADOR 

VOLTAJES

Demanda Mínima Avenida - Perú exporta 110 MW 

Salida de una unidad de Carhuaquero 

  Date:  29-Oct-2003 

  Annex: 05.N1.1.02 /2

DIgSILENT

[image: image12.wmf]28.557

22.826

17.094

11.363

5.6315

-0.1000

[s]

208.71

166.83

124.94

83.055

41.169

-0.7168

JAM_POM_22: Active Power/Terminal i in MW

Co-Ec-Pe 

INTERCONEXION COLOMBIA - PERU - ECUADOR 

Simul3

Demanda Mínima Avenida - Perú exporta 110 MW 

Salida de una unidad de Carhuaquero 

  Date:  29-Oct-2003 

  Annex: 05.N1.1.02 /1

DIgSILENT


