[image: image1.wmf] ISA

 STE

 PowerFactory 13.0.225 

 INTERCONEXIÓN AC COLOMBIA - ECUADOR - PE

 Año 2007 Demanda Máxima

 Perú exporta 115 MW, Colombia exporta 200 MW

 Caso Base

 Project: CO-EC-PE  

 Graphic: IntCol-Ecu

 Date:   05-Nov-2003 

 Annex: 07.X1.1.00 

Load Flow Balanced

Nodes

Line-Line Voltage, Magnitude [kV]

Voltage, Magnitude [p.u.]

Voltage, Angle [deg]

Branches

Active Power [MW]

Reactive Power [Mvar]

Loading [%]

-0.00

-126.81

 

-0.00

-74.62

 

0.00

-0.99

0.64

-93.15

-12.37

27.16

94.20

0.38

27.16

-93.15

-12.37

27.16

94.20

0.38

27.16

2.61

8.65

6.71

-2.58

-23.09

6.71

2.61

8.65

6.71

-2.58

-23.09

6.71

11.96

-8.72

3.68

-11.95

0.08

3.68

11.96

-8.72

3.68

-11.95

0.08

3.68

-0.00

0.99

2.58

0.00

-0.99

2.58

-186.06

3.82

33.91

189.03

8.67

33.91

-186.06

3.82

33.91

189.03

8.67

33.91

-48.78

45.28

20.41

49.36

-62.20

20.41

-9.82

36.52

14.49

10.10

-55.88

14.49

-156.93

17.03

42.23

162.20

-10.98

42.23

-156.93

17.03

42.23

162.20

-10.98

42.23

100.09

-18.84

22.62

-97.68

-2.11

22.62

100.09

-18.84

22.62

-97.68

-2.11

22.62

PAEZ___2

225.55

1.03

8.78

BETANIA2

240.93

1.10

20.68

IPIALES1

110.36

0.96

-20.33

IPIALESE

132.61

0.96

-20.33

TOTORA_230

236.81

1.08

-13.88

S.ROSA_230

232.68

1.06

-19.11

S.DOMI_230

235.36

1.07

-19.08

POMASQ_230

232.37

1.06

-18.81

TULCAN_138

136.36

0.99

-25.85

YUMBO__2

223.91

1.02

11.29

SANBERN2

236.43

1.07

7.86

JAMONDI2

234.15

1.06

-7.35

DIgSILENT

[image: image2.wmf] ISA

 STE

 PowerFactory 13.0.225 

 INTERCONEXIÓN AC COLOMBIA - ECUADOR - PE

 Año 2007 Demanda Máxima

 Perú exporta 115 MW, Colombia exporta 200 MW

 Caso Base

 Project: CO-EC-PE  

 Graphic: Ec-Pe

 Date:   05-Nov-2003 

 Annex: 07.X1.1.00 

Load Flow Balanced

Nodes

Line-Line Voltage, Magnitude [kV]

Voltage, Magnitude [p.u.]

Voltage, Angle [deg]

Branches

Active Power [MW]

Reactive Power [Mvar]

Loading [%]

90.25

-0.82

52.06

-90.25

4.18

52.06

-24.19

26.56

10.89

24.22

-30.46

10.89

-148.31

-3.05

37.17

G

~

400.00

60.37

72.24

PauteAB-1-5

G

~

390.00

59.74

77.24

G

~

100.00

20.58

79.95

PauteC-G6-9

PauteC-G10

G

~

87.00

5.69

89.98

-109.19

36.51

50.52

111.48

-43.69

50.52

-53.50

37.48

48.40

54.21

-49.86

48.40

-119.65

18.10

82.91

124.88

-18.88

82.91

85.77

-1.31

74.31

-84.66

-6.48

74.31

116.67

-38.00

50.07

-114.47

31.27

50.07

124.52

8.21

35.48

-121.49

-19.99

35.48

124.52

8.21

35.48

-121.49

-19.99

35.48

-109.63

-16.28

30.95

110.32

11.58

30.95

130.68

11.18

36.89

-128.31

-18.40

36.89

-105.03

-14.98

29.26

106.35

2.83

29.26

148.00

28.82

40.66

-147.72

-29.10

40.66

EDC_230

242.41

1.10

-6.20

PAUTE_230

244.78

1.11

-4.33

PASCUA_230

233.36

1.06

-15.41

MILAGRO_230

236.31

1.07

-12.61

CARHUAQ2

223.25

1.01

32.14

MACHALA_69

72.13

1.05

-8.86

CHICLAY2

219.89

1.00

28.12

MACHALA_230

240.20

1.09

-6.72

PAUTE_138

147.00

1.07

-2.87

PIURAO_2

219.63

1.00

12.45

CARHUAQU

10.30

1.03

36.66

TALARA_2

228.05

1.04

8.88

ZORRITO2

235.79

1.07

0.41

S.IDELF_230

241.29

1.10

-7.01

DIgSILENT


[image: image3.wmf]29.997

23.978

17.958

11.939

5.9194

-0.1000

[s]

-10.00

-20.00

-30.00

-40.00

-50.00

-60.00

PauteB_1_5: Rotor angle with reference to reference machine angle in deg

Edc_G1: Rotor angle with reference to reference machine angle in deg

Esmeraldas_G1: Rotor angle with reference to reference machine angle in deg

Trinitaria_G1: Rotor angle with reference to reference machine angle in deg

29.997

23.978

17.958

11.939

5.9194

-0.1000

[s]

125.00

100.00

75.00

50.00

25.00

0.00

-25.00

sym aguaytia: Rotor angle with reference to reference machine angle in deg

sym machupic: Rotor angle with reference to reference machine angle in deg

sym sangaban: Rotor angle with reference to reference machine angle in deg

sym carhuaqu: Rotor angle with reference to reference machine angle in deg

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Firel

Demanda Máxima Perú exporta 115 MW 

Salida de una unidad de Paute 

  Date:  05-Nov-2003 

  Annex: 07.X1.1.01 /4

DIgSILENT


[image: image4.wmf]29.997

23.978

17.958

11.939

5.9194

-0.1000

[s]

430.00

420.00

410.00

400.00

390.00

380.00

PauteB_1_5: Active Power in MW

29.997

23.978

17.958

11.939

5.9194

-0.1000

[s]

160.00

140.00

120.00

100.00

80.00

60.00

sym aguaytia: Active Power in MW

sym machupic: Active Power in MW

sym sangaban: Active Power in MW

sym carhuaqu: Active Power in MW

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Gen_P

Demanda Máxima Perú exporta 115 MW 

Salida de una unidad de Paute 

  Date:  05-Nov-2003 

  Annex: 07.X1.1.01 /3

DIgSILENT


[image: image5.wmf]29.997

23.978

17.958

11.939

5.9194

-0.1000

[s]

160.00

120.00

80.00

40.00

0.00

-40.00

-80.00

MIL_IDF_11: Active Power/Terminal i in MW

lne GUA_CHI_21: Active Power/Terminal i in MW

29.997

23.978

17.958

11.939

5.9194

-0.1000

[s]

200.00

100.00

-0.00

-100.00

-200.00

lne PIU_CHI_21: Active Power/Terminal i in MW

lne TAL_PIU_21: Active Power/Terminal i in MW

lne TAL_ZOR_21: Active Power/Terminal i in MW

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Lineas

Demanda Máxima Perú exporta 115 MW 

Salida de una unidad de Paute 

  Date:  05-Nov-2003 

  Annex: 07.X1.1.01 /2

DIgSILENT

[image: image6.wmf]29.997

23.978

17.958

11.939

5.9194

-0.1000

[s]

1.14

1.12

1.10

1.08

1.06

1.04

1.02

MACHALA_138: Voltage, Magnitude in p.u.

MACHALA_230: Voltage, Magnitude in p.u.

MILAGRO_230: Voltage, Magnitude in p.u.

PAUTE_230: Voltage, Magnitude in p.u.

29.997

23.978

17.958

11.939

5.9194

-0.1000

[s]

1.12

1.08

1.04

1.00

0.96

0.92

CHICLAY2: Voltage, Magnitude in p.u.

PIURAO_2: Voltage, Magnitude in p.u.

TALARA_2: Voltage, Magnitude in p.u.

ZORRITO2: Voltage, Magnitude in p.u.

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Voltajes

Demanda Máxima Perú exporta 115 MW 

Salida de una unidad de Paute 

  Date:  05-Nov-2003 

  Annex: 07.X1.1.01 /5

DIgSILENT


[image: image7.wmf]29.997

23.978

17.958

11.939

5.9194

-0.1000

[s]

150.00

140.00

130.00

120.00

110.00

100.00

90.00

JAM_POM_22: Active Power/Terminal i in MW

29.997

23.978

17.958

11.939

5.9194

-0.1000

[s]

-87.50

-100.00

-112.50

-125.00

-137.50

-150.00

-162.50

lne MCH_ZOR_21: Active Power/Terminal i in MW

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Interc

Demanda Máxima Perú exporta 115 MW 

Salida de una unidad de Paute 

  Date:  05-Nov-2003 

  Annex: 07.X1.1.01 /1

DIgSILENT


[image: image8.wmf]29.995

23.976

17.957

11.938

5.9189

-0.1000

[s]

-10.00

-20.00

-30.00

-40.00

-50.00

PauteB_1_5: Rotor angle with reference to reference machine angle in deg

Edc_G1: Rotor angle with reference to reference machine angle in deg

Esmeraldas_G1: Rotor angle with reference to reference machine angle in deg

Trinitaria_G1: Rotor angle with reference to reference machine angle in deg

29.995

23.976

17.957

11.938

5.9189

-0.1000

[s]

80.00

60.00

40.00

20.00

0.00

-20.00

sym aguaytia: Rotor angle with reference to reference machine angle in deg

sym machupic: Rotor angle with reference to reference machine angle in deg

sym sangaban: Rotor angle with reference to reference machine angle in deg

sym carhuaqu: Rotor angle with reference to reference machine angle in deg

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Firel

Demanda Máxima Perú exporta 115 MW 

Salida de la C.H. de Carhuaaquero 

  Date:  05-Nov-2003 

  Annex: 07.X1.1.02 /4

DIgSILENT

[image: image9.wmf]29.995

23.976

17.957

11.938

5.9189

-0.1000

[s]

412.00

408.00

404.00

400.00

396.00

392.00

PauteB_1_5: Active Power in MW

29.995

23.976

17.957

11.938

5.9189

-0.1000

[s]

200.00

160.00

120.00

80.00

40.00

0.00

-40.00

sym aguaytia: Active Power in MW

sym machupic: Active Power in MW

sym sangaban: Active Power in MW

sym carhuaqu: Active Power in MW

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Gen_P

Demanda Máxima Perú exporta 115 MW 

Salida de la C.H. de Carhuaaquero 

  Date:  05-Nov-2003 

  Annex: 07.X1.1.02 /3

DIgSILENT

[image: image10.wmf]29.995

23.976

17.957

11.938

5.9189

-0.1000

[s]

160.00

120.00

80.00

40.00

0.00

-40.00

MIL_IDF_11: Active Power/Terminal i in MW

lne GUA_CHI_21: Active Power/Terminal i in MW

29.995

23.976

17.957

11.938

5.9189

-0.1000

[s]

200.00

100.00

-0.00

-100.00

-200.00

lne PIU_CHI_21: Active Power/Terminal i in MW

lne TAL_PIU_21: Active Power/Terminal i in MW

lne TAL_ZOR_21: Active Power/Terminal i in MW

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Lineas

Demanda Máxima Perú exporta 115 MW 

Salida de la C.H. de Carhuaaquero 

  Date:  05-Nov-2003 

  Annex: 07.X1.1.02 /2

DIgSILENT


[image: image11.wmf]29.995

23.976

17.957

11.938

5.9189

-0.1000

[s]

1.14

1.12

1.10

1.08

1.06

1.04

MACHALA_138: Voltage, Magnitude in p.u.

MACHALA_230: Voltage, Magnitude in p.u.

MILAGRO_230: Voltage, Magnitude in p.u.

PAUTE_230: Voltage, Magnitude in p.u.

29.995

23.976

17.957

11.938

5.9189

-0.1000

[s]

1.12

1.08

1.04

1.00

0.96

0.92

CHICLAY2: Voltage, Magnitude in p.u.

PIURAO_2: Voltage, Magnitude in p.u.

TALARA_2: Voltage, Magnitude in p.u.

ZORRITO2: Voltage, Magnitude in p.u.

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Voltajes

Demanda Máxima Perú exporta 115 MW 

Salida de la C.H. de Carhuaaquero 

  Date:  05-Nov-2003 

  Annex: 07.X1.1.02 /5

DIgSILENT


[image: image12.wmf]29.995

23.976

17.957

11.938

5.9189

-0.1000

[s]

140.00

130.00

120.00

110.00

100.00

90.00

JAM_POM_22: Active Power/Terminal i in MW

29.995

23.976

17.957

11.938

5.9189

-0.1000

[s]

0.00

-25.00

-50.00

-75.00

-100.00

-125.00

lne MCH_ZOR_21: Active Power/Terminal i in MW

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Interc

Demanda Máxima Perú exporta 115 MW 

Salida de la C.H. de Carhuaaquero 

  Date:  05-Nov-2003 

  Annex: 07.X1.1.02 /1

DIgSILENT


[image: image13.wmf] ISA

 STE

 PowerFactory 13.0.225 

 INTERCONEXIÓN AC COLOMBIA - ECUADOR - PE

 Año 2007 Demanda Media

 Perú exporta 110 MW, Colombia exporta 240 MW

 Caso Base

 Project: CO-EC-PE  

 Graphic: IntCol-Ecu

 Date:   05-Nov-2003 

 Annex: 07.D1.1.00 

Load Flow Balanced

Nodes

Line-Line Voltage, Magnitude [kV]

Voltage, Magnitude [p.u.]

Voltage, Angle [deg]

Branches

Active Power [MW]

Reactive Power [Mvar]

Loading [%]

0.00

-65.15

 

0.00

-130.29

 

-0.00

-79.60

 

0.00

-1.18

0.70

-67.10

-14.36

19.39

67.62

-2.87

19.39

-67.10

-14.36

19.39

67.62

-2.87

19.39

-47.41

-10.87

13.83

47.59

-2.60

13.83

-47.41

-10.87

13.83

47.59

-2.60

13.83

41.74

-1.77

10.24

-41.67

-6.67

10.24

41.74

-1.77

10.24

-41.67

-6.67

10.24

-0.00

1.18

2.81

0.00

-1.17

2.81

-25.28

20.31

9.98

25.44

-46.90

9.98

-25.28

20.31

9.98

25.44

-46.90

9.98

-186.44

84.26

51.24

190.82

-62.93

51.24

-110.33

61.25

33.04

112.32

-66.64

33.04

-153.16

25.47

40.98

158.02

-24.39

40.98

-153.16

25.47

40.98

158.02

-24.39

40.98

121.62

-15.79

26.38

-118.27

0.02

26.38

121.62

-15.79

26.38

-118.27

0.02

26.38

PAEZ___2

227.52

1.03

5.05

BETANIA2

230.36

1.05

0.07

IPIALES1

120.18

1.05

-24.09

IPIALESE

144.40

1.05

-24.09

TOTORA_230

241.20

1.10

-26.61

S.ROSA_230

238.03

1.08

-30.21

S.DOMI_230

236.42

1.07

-32.05

POMASQ_230

238.67

1.08

-29.25

TULCAN_138

142.58

1.03

-34.58

YUMBO__2

225.72

1.03

10.29

SANBERN2

239.66

1.09

-1.88

JAMONDI2

241.83

1.10

-16.15

DIgSILENT


[image: image14.wmf] ISA

 STE

 PowerFactory 13.0.225 

 INTERCONEXIÓN AC COLOMBIA - ECUADOR - PE

 Año 2007 Demanda Media

 Perú exporta 110 MW, Colombia exporta 240 MW

 Caso Base

 Project: CO-EC-PE  

 Graphic: Ec-Pe

 Date:   05-Nov-2003 

 Annex: 07.D1.1.00 

Load Flow Balanced

Nodes

Line-Line Voltage, Magnitude [kV]

Voltage, Magnitude [p.u.]

Voltage, Angle [deg]

Branches

Active Power [MW]

Reactive Power [Mvar]

Loading [%]

88.86

-0.79

52.72

-88.86

4.24

52.72

-20.61

19.06

8.86

20.63

-22.81

8.86

-121.25

-7.68

30.49

G

~

350.00

61.32

63.45

PauteAB-1-5

G

~

400.00

66.70

79.39

G

~

110.00

17.41

87.21

PauteC-G6-9

PauteC-G10

G

~

75.00

1.49

77.41

-117.26

27.28

52.66

119.81

-31.76

52.66

-54.54

36.54

48.66

55.27

-48.61

48.66

-106.25

5.71

72.40

110.26

-14.38

72.40

74.06

-3.73

63.79

-73.24

-5.82

63.79

111.54

-30.27

48.18

-109.49

23.60

48.18

137.11

14.42

39.26

-133.39

-20.18

39.26

137.11

14.42

39.26

-133.39

-20.18

39.26

-118.46

-6.87

33.45

119.28

3.39

33.45

143.82

21.65

41.19

-140.87

-23.82

41.19

-102.50

2.42

29.11

103.81

-13.71

29.11

148.00

-0.70

41.07

-147.72

0.63

41.07

EDC_230

234.81

1.07

-24.05

PAUTE_230

244.44

1.11

-21.55

PASCUA_230

231.11

1.05

-33.88

MILAGRO_230

233.26

1.06

-30.75

CARHUAQ2

224.34

1.02

12.46

MACHALA_69

70.15

1.02

-26.90

CHICLAY2

221.67

1.01

9.01

MACHALA_230

233.56

1.06

-24.67

PAUTE_138

146.89

1.06

-20.36

PIURAO_2

218.32

0.99

-4.66

CARHUAQU

10.30

1.03

16.36

TALARA_2

226.51

1.03

-8.33

ZORRITO2

230.81

1.05

-17.56

S.IDELF_230

234.37

1.07

-24.92

DIgSILENT


[image: image15.wmf]29.991

23.973

17.954

11.936

5.9182

-0.1000

[s]

0.00

-20.00

-40.00

-60.00

-80.00

PauteB_1_5: Rotor angle with reference to reference machine angle in deg

Edc_G1: Rotor angle with reference to reference machine angle in deg

Esmeraldas_G1: Rotor angle with reference to reference machine angle in deg

Trinitaria_G1: Rotor angle with reference to reference machine angle in deg

29.991

23.973

17.954

11.936

5.9182

-0.1000

[s]

90.00

60.00

30.00

0.00

-30.00

-60.00

sym aguaytia: Rotor angle with reference to reference machine angle in deg

sym machupic: Rotor angle with reference to reference machine angle in deg

sym sangaban: Rotor angle with reference to reference machine angle in deg

sym carhuaqu: Rotor angle with reference to reference machine angle in deg

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Firel

Demanda Media Perú exporta 110 MW 

Salida de una unidad de la C.H. de Paute 

  Date:  05-Nov-2003 

  Annex: 07.D1.1.01 /4

DIgSILENT


[image: image16.wmf]29.991

23.973

17.954

11.936

5.9182

-0.1000

[s]

390.00

380.00

370.00

360.00

350.00

340.00

330.00

PauteB_1_5: Active Power in MW

29.991

23.973

17.954

11.936

5.9182

-0.1000

[s]

180.00

160.00

140.00

120.00

100.00

80.00

60.00

sym aguaytia: Active Power in MW

sym machupic: Active Power in MW

sym sangaban: Active Power in MW

sym carhuaqu: Active Power in MW

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Gen_P

Demanda Media Perú exporta 110 MW 

Salida de una unidad de la C.H. de Paute 

  Date:  05-Nov-2003 

  Annex: 07.D1.1.01 /3

DIgSILENT


[image: image17.wmf]29.991

23.973

17.954

11.936

5.9182

-0.1000

[s]

160.00

120.00

80.00

40.00

0.00

-40.00

MIL_IDF_11: Active Power/Terminal i in MW

lne GUA_CHI_21: Active Power/Terminal i in MW

29.991

23.973

17.954

11.936

5.9182

-0.1000

[s]

200.00

100.00

-0.00

-100.00

-200.00

lne PIU_CHI_21: Active Power/Terminal i in MW

lne TAL_PIU_21: Active Power/Terminal i in MW

lne TAL_ZOR_21: Active Power/Terminal i in MW

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Lineas

Demanda Media Perú exporta 110 MW 

Salida de una unidad de la C.H. de Paute 

  Date:  05-Nov-2003 

  Annex: 07.D1.1.01 /2

DIgSILENT


[image: image18.wmf]29.991

23.973

17.954

11.936

5.9182

-0.1000

[s]

1.14

1.11

1.08

1.05

1.02

0.99

MACHALA_138: Voltage, Magnitude in p.u.

MACHALA_230: Voltage, Magnitude in p.u.

MILAGRO_230: Voltage, Magnitude in p.u.

PAUTE_230: Voltage, Magnitude in p.u.

29.991

23.973

17.954

11.936

5.9182

-0.1000

[s]

1.08

1.05

1.02

0.99

0.96

0.93

0.90

CHICLAY2: Voltage, Magnitude in p.u.

PIURAO_2: Voltage, Magnitude in p.u.

TALARA_2: Voltage, Magnitude in p.u.

ZORRITO2: Voltage, Magnitude in p.u.

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Voltajes

Demanda Media Perú exporta 110 MW 

Salida de una unidad de la C.H. de Paute 

  Date:  05-Nov-2003 

  Annex: 07.D1.1.01 /5

DIgSILENT


[image: image19.wmf]29.991

23.973

17.954

11.936

5.9182

-0.1000

[s]

170.00

160.00

150.00

140.00

130.00

120.00

110.00

JAM_POM_22: Active Power/Terminal i in MW

29.991

23.973

17.954

11.936

5.9182

-0.1000

[s]

-87.50

-100.00

-112.50

-125.00

-137.50

-150.00

lne MCH_ZOR_21: Active Power/Terminal i in MW

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Interc

Demanda Media Perú exporta 110 MW 

Salida de una unidad de la C.H. de Paute 

  Date:  05-Nov-2003 

  Annex: 07.D1.1.01 /1

DIgSILENT


[image: image20.wmf]29.993

23.975

17.956

11.937

5.9186

-0.1000

[s]

0.00

-12.50

-25.00

-37.50

-50.00

-62.50

-75.00

PauteB_1_5: Rotor angle with reference to reference machine angle in deg

Edc_G1: Rotor angle with reference to reference machine angle in deg

Esmeraldas_G1: Rotor angle with reference to reference machine angle in deg

Trinitaria_G1: Rotor angle with reference to reference machine angle in deg

29.993

23.975

17.956

11.937

5.9186

-0.1000

[s]

80.00

60.00

40.00

20.00

0.00

-20.00

sym aguaytia: Rotor angle with reference to reference machine angle in deg

sym machupic: Rotor angle with reference to reference machine angle in deg

sym sangaban: Rotor angle with reference to reference machine angle in deg

sym carhuaqu: Rotor angle with reference to reference machine angle in deg

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Firel

Demanda Media Perú exporta 110 MW 

Salida de la C.H. de Carhuaaquero 

  Date:  05-Nov-2003 

  Annex: 07.D1.1.02 /4

DIgSILENT


[image: image21.wmf]29.993

23.975

17.956

11.937

5.9186

-0.1000

[s]

360.00

356.00

352.00

348.00

344.00

340.00

PauteB_1_5: Active Power in MW

29.993

23.975

17.956

11.937

5.9186

-0.1000

[s]

200.00

160.00

120.00

80.00

40.00

0.00

-40.00

sym aguaytia: Active Power in MW

sym machupic: Active Power in MW

sym sangaban: Active Power in MW

sym carhuaqu: Active Power in MW

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Gen_P

Demanda Media Perú exporta 110 MW 

Salida de la C.H. de Carhuaaquero 

  Date:  05-Nov-2003 

  Annex: 07.D1.1.02 /3

DIgSILENT


[image: image22.wmf]29.993

23.975

17.956

11.937

5.9186

-0.1000

[s]

160.00

120.00

80.00

40.00

0.00

-40.00

MIL_IDF_11: Active Power/Terminal i in MW

lne GUA_CHI_21: Active Power/Terminal i in MW

29.993

23.975

17.956

11.937

5.9186

-0.1000

[s]

150.00

100.00

50.00

-0.00

-50.00

-100.00

-150.00

lne PIU_CHI_21: Active Power/Terminal i in MW

lne TAL_PIU_21: Active Power/Terminal i in MW

lne TAL_ZOR_21: Active Power/Terminal i in MW

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Lineas

Demanda Media Perú exporta 110 MW 

Salida de la C.H. de Carhuaaquero 

  Date:  05-Nov-2003 

  Annex: 07.D1.1.02 /2

DIgSILENT


[image: image23.wmf]29.993

23.975

17.956

11.937

5.9186

-0.1000

[s]

1.125

1.100

1.075

1.050

1.025

1.000

MACHALA_138: Voltage, Magnitude in p.u.

MACHALA_230: Voltage, Magnitude in p.u.

MILAGRO_230: Voltage, Magnitude in p.u.

PAUTE_230: Voltage, Magnitude in p.u.

29.993

23.975

17.956

11.937

5.9186

-0.1000

[s]

1.11

1.08

1.05

1.02

0.99

0.96

0.93

CHICLAY2: Voltage, Magnitude in p.u.

PIURAO_2: Voltage, Magnitude in p.u.

TALARA_2: Voltage, Magnitude in p.u.

ZORRITO2: Voltage, Magnitude in p.u.

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Voltajes

Demanda Media Perú exporta 110 MW 

Salida de la C.H. de Carhuaaquero 

  Date:  05-Nov-2003 

  Annex: 07.D1.1.02 /5

DIgSILENT


[image: image24.wmf]29.993

23.975

17.956

11.937

5.9186

-0.1000

[s]

160.00

150.00

140.00

130.00

120.00

JAM_POM_22: Active Power/Terminal i in MW

29.993

23.975

17.956

11.937

5.9186

-0.1000

[s]

0.00

-20.00

-40.00

-60.00

-80.00

-100.00

-120.00

lne MCH_ZOR_21: Active Power/Terminal i in MW

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Interc

Demanda Media Perú exporta 110 MW 

Salida de la C.H. de Carhuaaquero 

  Date:  05-Nov-2003 

  Annex: 07.D1.1.02 /1

DIgSILENT


[image: image25.wmf] ISA

 STE

 PowerFactory 13.0.225 

 INTERCONEXIÓN AC COLOMBIA - ECUADOR - PE

 Año 2007 Demanda Mínima

 Perú exporta 110 MW, Colombia exporta 240 MW

 Caso Base

 Project: CO-EC-PE  

 Graphic: IntCol-Ecu

 Date:   05-Nov-2003 

 Annex: 07.N1.1.00 

Load Flow Balanced

Nodes

Line-Line Voltage, Magnitude [kV]

Voltage, Magnitude [p.u.]

Voltage, Angle [deg]

Branches

Active Power [MW]

Reactive Power [Mvar]

Loading [%]

-0.00

27.73

 

0.00

-79.87

 

0.00

-1.18

0.70

-35.23

-17.84

11.39

35.38

-1.51

11.39

-35.23

-17.84

11.39

35.38

-1.51

11.39

-79.30

-23.47

24.36

79.89

14.11

24.36

-79.30

-23.47

24.36

79.89

14.11

24.36

54.88

7.80

14.08

-54.75

-15.30

14.08

54.88

7.80

14.08

-54.75

-15.30

14.08

-0.00

1.18

2.81

0.00

-1.18

2.81

-61.85

-4.22

11.96

62.19

-20.05

11.96

-61.85

-4.22

11.96

62.19

-20.05

11.96

-81.10

40.97

25.01

82.06

-54.26

25.01

-52.18

28.86

17.69

52.69

-46.61

17.69

-116.36

22.42

32.41

119.27

-36.66

32.41

-116.36

22.42

32.41

119.27

-36.66

32.41

119.40

-6.55

25.81

-116.14

-9.32

25.81

119.40

-6.55

25.81

-116.14

-9.32

25.81

PAEZ___2

228.90

1.04

16.06

BETANIA2

235.43

1.07

17.08

IPIALES1

120.31

1.05

0.69

IPIALESE

144.57

1.05

0.69

TOTORA_230

236.02

1.07

-10.56

S.ROSA_230

233.13

1.06

-12.49

S.DOMI_230

228.36

1.04

-15.70

POMASQ_230

234.80

1.07

-11.20

TULCAN_138

139.68

1.01

-15.13

YUMBO__2

226.38

1.03

18.11

SANBERN2

236.46

1.07

12.73

JAMONDI2

242.25

1.10

1.72

DIgSILENT


[image: image26.wmf] ISA

 STE

 PowerFactory 13.0.225 

 INTERCONEXIÓN AC COLOMBIA - ECUADOR - PE

 Año 2007 Demanda Mínima

 Perú exporta 110 MW, Colombia exporta 240 MW

 Caso Base

 Project: CO-EC-PE  

 Graphic: Ec-Pe

 Date:   05-Nov-2003 

 Annex: 07.N1.1.00 

Load Flow Balanced

Nodes

Line-Line Voltage, Magnitude [kV]

Voltage, Magnitude [p.u.]

Voltage, Angle [deg]

Branches

Active Power [MW]

Reactive Power [Mvar]

Loading [%]

91.03

3.88

55.03

-91.03

-0.12

55.03

-26.99

14.56

9.54

27.02

-18.14

9.54

-142.70

-22.49

36.97

G

~

400.00

100.28

73.64

PauteAB-1-5

G

~

440.00

114.07

88.99

G

~

110.00

28.52

88.99

PauteC-G6-9

PauteC-G10

G

~

60.00

1.45

61.94

-124.60

16.23

54.07

127.35

-19.36

54.07

-59.18

12.48

41.64

59.74

-26.60

41.64

-99.76

19.08

70.32

103.35

-31.92

70.32

59.36

-1.95

51.62

-58.83

-9.23

51.62

120.40

-18.42

51.03

-118.05

14.26

51.03

160.79

34.60

47.96

-155.22

-23.02

47.96

160.79

34.60

47.96

-155.22

-23.02

47.96

-141.58

-16.84

42.22

142.88

18.07

42.22

167.88

39.55

49.87

-163.55

-28.98

49.87

-106.89

-15.98

31.44

108.41

7.64

31.44

148.00

23.77

42.38

-147.70

-23.63

42.38

EDC_230

231.04

1.05

-10.26

PAUTE_230

239.64

1.09

-6.13

PASCUA_230

220.04

1.00

-21.51

MILAGRO_230

224.00

1.02

-17.45

CARHUAQ2

224.66

1.02

25.44

MACHALA_69

68.76

1.00

-13.19

CHICLAY2

222.01

1.01

22.71

MACHALA_230

229.41

1.04

-10.82

PAUTE_138

144.42

1.05

-4.67

PIURAO_2

226.69

1.03

10.08

CARHUAQU

10.30

1.03

28.56

TALARA_2

229.24

1.04

6.52

ZORRITO2

229.68

1.04

-3.09

S.IDELF_230

230.00

1.05

-11.15

DIgSILENT


[image: image27.wmf]20.00

16.00

12.00

8.00

4.00

0.00

[s]

30.00

0.00

-30.00

-60.00

-90.00

-120.00

PauteB_1_5: Rotor angle with reference to reference machine angle in deg

Edc_G1: Rotor angle with reference to reference machine angle in deg

Esmeraldas_G1: Rotor angle with reference to reference machine angle in deg

Trinitaria_G1: Rotor angle with reference to reference machine angle in deg

20.00

16.00

12.00

8.00

4.00

0.00

[s]

200.00

100.00

0.00

-100.00

-200.00

sym aguaytia: c:firel

sym machupic: Rotor angle with reference to reference machine angle in deg

sym sangaban: Rotor angle with reference to reference machine angle in deg

sym carhuaqu: Rotor angle with reference to reference machine angle in deg

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Firel

Demanda Mínima Perú exporta 110 MW 

Salida de una unidad de la C.H. de Paute 

  Date:  05-Nov-2003 

  Annex: 07.N1.1.01 /4

DIgSILENT

[image: image28.wmf]29.999

23.980

17.960

11.940

5.9199

-0.1000

[s]

600.00

500.00

400.00

300.00

200.00

PauteB_1_5: Active Power in MW

20.00

16.00

12.00

8.00

4.00

0.00

[s]

150.00

125.00

100.00

75.00

50.00

25.00

0.00

sym aguaytia: m:P:bus1

sym machupic: Active Power in MW

sym sangaban: Active Power in MW

sym carhuaqu: Active Power in MW

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Gen_P

Demanda Mínima Perú exporta 110 MW 

Salida de una unidad de la C.H. de Paute 

  Date:  05-Nov-2003 

  Annex: 07.N1.1.01 /3

DIgSILENT

[image: image29.wmf]20.00

16.00

12.00

8.00

4.00

0.00

[s]

200.00

100.00

0.00

-100.00

-200.00

MIL_IDF_11: Active Power/Terminal i in MW

lne GUA_CHI_21: Active Power/Terminal i in MW

20.00

16.00

12.00

8.00

4.00

0.00

[s]

300.00

200.00

100.00

-0.00

-100.00

-200.00

-300.00

lne PIU_CHI_21: Active Power/Terminal i in MW

lne TAL_PIU_21: Active Power/Terminal i in MW

lne TAL_ZOR_21: Active Power/Terminal i in MW

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Lineas

Demanda Mínima Perú exporta 110 MW 

Salida de una unidad de la C.H. de Paute 

  Date:  05-Nov-2003 

  Annex: 07.N1.1.01 /2

DIgSILENT


[image: image30.wmf]20.00

16.00

12.00

8.00

4.00

0.00

[s]

1.20

1.10

1.00

0.90

0.80

0.70

MACHALA_138: Voltage, Magnitude in p.u.

MACHALA_230: Voltage, Magnitude in p.u.

MILAGRO_230: Voltage, Magnitude in p.u.

PAUTE_230: Voltage, Magnitude in p.u.

20.00

16.00

12.00

8.00

4.00

0.00

[s]

1.25

1.00

0.75

0.50

0.25

0.00

-0.25

CHICLAY2: Voltage, Magnitude in p.u.

PIURAO_2: Voltage, Magnitude in p.u.

TALARA_2: Voltage, Magnitude in p.u.

ZORRITO2: Voltage, Magnitude in p.u.

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Voltajes

Demanda Mínima Perú exporta 110 MW 

Salida de una unidad de la C.H. de Paute 

  Date:  05-Nov-2003 

  Annex: 07.N1.1.01 /5

DIgSILENT


[image: image31.wmf]20.00

16.00

12.00

8.00

4.00

0.00

[s]

240.00

210.00

180.00

150.00

120.00

90.00

60.00

JAM_POM_22: Active Power/Terminal i in MW

20.00

16.00

12.00

8.00

4.00

0.00

[s]

300.00

200.00

100.00

0.00

-100.00

-200.00

-300.00

lne MCH_ZOR_21: Active Power/Terminal i in MW

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Interc

Demanda Mínima Perú exporta 110 MW 

Salida de una unidad de la C.H. de Paute 

  Date:  05-Nov-2003 

  Annex: 07.N1.1.01 /1

DIgSILENT


[image: image32.wmf]25.00

20.00

15.00

10.00

5.00

0.00

[s]

30.00

0.00

-30.00

-60.00

-90.00

-120.00

PauteB_1_5: Rotor angle with reference to reference machine angle in deg

Edc_G1: Rotor angle with reference to reference machine angle in deg

Esmeraldas_G1: Rotor angle with reference to reference machine angle in deg

Trinitaria_G1: Rotor angle with reference to reference machine angle in deg

25.00

20.00

15.00

10.00

5.00

0.00

[s]

200.00

100.00

0.00

-100.00

-200.00

sym aguaytia: c:firel

sym machupic: Rotor angle with reference to reference machine angle in deg

sym sangaban: Rotor angle with reference to reference machine angle in deg

sym carhuaqu: Rotor angle with reference to reference machine angle in deg

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Firel

Demanda Mínima Perú exporta 110 MW 

Salida de la C.H. de Carhuaquero 

  Date:  05-Nov-2003 

  Annex: 07.N1.1.02 /4

DIgSILENT


[image: image33.wmf]25.00

20.00

15.00

10.00

5.00

0.00

[s]

600.00

500.00

400.00

300.00

200.00

PauteB_1_5: Active Power in MW

25.00

20.00

15.00

10.00

5.00

0.00

[s]

150.00

125.00

100.00

75.00

50.00

25.00

0.00

sym aguaytia: m:P:bus1

sym machupic: Active Power in MW

sym sangaban: Active Power in MW

sym carhuaqu: Active Power in MW

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Gen_P

Demanda Mínima Perú exporta 110 MW 

Salida de la C.H. de Carhuaquero 

  Date:  05-Nov-2003 

  Annex: 07.N1.1.02 /3

DIgSILENT


[image: image34.wmf]25.00

20.00

15.00

10.00

5.00

0.00

[s]

200.00

100.00

0.00

-100.00

-200.00

MIL_IDF_11: Active Power/Terminal i in MW

lne GUA_CHI_21: Active Power/Terminal i in MW

25.00

20.00

15.00

10.00

5.00

0.00

[s]

300.00

200.00

100.00

-0.00

-100.00

-200.00

-300.00

lne PIU_CHI_21: Active Power/Terminal i in MW

lne TAL_PIU_21: Active Power/Terminal i in MW

lne TAL_ZOR_21: Active Power/Terminal i in MW

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Lineas

Demanda Mínima Perú exporta 110 MW 

Salida de la C.H. de Carhuaquero 

  Date:  05-Nov-2003 

  Annex: 07.N1.1.02 /2

DIgSILENT


[image: image35.wmf]25.00

20.00

15.00

10.00

5.00

0.00

[s]

1.20

1.10

1.00

0.90

0.80

0.70

MACHALA_138: Voltage, Magnitude in p.u.

MACHALA_230: Voltage, Magnitude in p.u.

MILAGRO_230: Voltage, Magnitude in p.u.

PAUTE_230: Voltage, Magnitude in p.u.

25.00

20.00

15.00

10.00

5.00

0.00

[s]

1.50

1.20

0.90

0.60

0.30

0.00

-0.30

CHICLAY2: Voltage, Magnitude in p.u.

PIURAO_2: Voltage, Magnitude in p.u.

TALARA_2: Voltage, Magnitude in p.u.

ZORRITO2: Voltage, Magnitude in p.u.

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Voltajes

Demanda Mínima Perú exporta 110 MW 

Salida de la C.H. de Carhuaquero 

  Date:  05-Nov-2003 

  Annex: 07.N1.1.02 /5

DIgSILENT


[image: image36.wmf]25.00

20.00

15.00

10.00

5.00

0.00

[s]

210.00

180.00

150.00

120.00

90.00

60.00

JAM_POM_22: Active Power/Terminal i in MW

25.00

20.00

15.00

10.00

5.00

0.00

[s]

300.00

200.00

100.00

0.00

-100.00

-200.00

-300.00

lne MCH_ZOR_21: Active Power/Terminal i in MW

CO-EC-PE 

INTERCONEXIÓN AC COLOMBIA-ECUADOR-PERÚ 

Interc

Demanda Mínima Perú exporta 110 MW 

Salida de la C.H. de Carhuaquero 

  Date:  05-Nov-2003 

  Annex: 07.N1.1.02 /1

DIgSILENT


